## Element Upload Sheet
Name | Description | Section | Category | UOM | Brand/Make | Item Type | Standard Quantity | Client Rate | Budget Rate | HSN | Tax %
Authority Approvals | Submission of all Drawings and design to Traqees & other local Authorities as required for obtaining initial and final approvals of the drawings and payment for the same prior to commencement of works at sharjah City Center site. This includes submission of Completion certificates from Local Authorities to ANTA and IBn Batuta Mall Management within 15-20 days after the agreed handover dates. All deposits and fees will be paid by the client directly as per actual (Safety certificate , Hasantuk,,Govt fees - excluded) | Civil | Design Service (DS) | Lumpsum |  | Consulting | 1 | 32500
Design Drawings and coordination | Preparation & submission of design and shop drawings for various trades of works like civil, interior, MEP, shop front, submission of samples, Green star rating documents and getting the same approved from the Mall Management and ANTA management prior and after the start of work on site. Final approved construction drawing in A2 size along with work Program schedule to be kept on site for reference prior start of work on site. | Civil | Design Service (DS) | Lumpsum |  | Consulting | 1 | 14500
Mall Coordination | Coordination with Mall Management (RDM, TDM) and comply with all the contractual obligations, fitouit guidelines & rules as per the terms and conditions of the contract. | Civil | Design Service (DS) | Lumpsum |  | Consulting | 1 | 2850
Insurance policies | Providng Fit-out insurance covering the Ibn Batuta Mall-Dubai property damages during the period of fit-out works. CAR insurance Policy which may cover "Contractors All Risk" during the fit-out period. Workmen compesation Insurance and third party liability insurance (IF REQUIRED), | Civil | Miscellaneous (MI) | Lumpsum |  | Consulting | 1 | 5450
Site safety | The necessary safety precautions and the necessary protection measures for own services and services offered by other workers throughout the construction work and Mall surrounding areas. | Civil | Miscellaneous (MI) | Lumpsum |  | Consulting | 1 | 5850
3rd party certificates | Presentation of test certificates- 3rd party, break down itemized cost and approvals to be presented upon the request of the Client. Pressure test, Air balancing, Megger test, Live test, cold test, contunity test etc | Civil | Miscellaneous (MI) | Lumpsum |  | Consulting | 1 | 6000
Project management | Dedicated Personnel to be provided for taking care of site from start to finish during all shifts as required on site as per Mall requirement & site progress within contract time frame. Site office setup with temporary DB and lighting | Civil | Miscellaneous (MI) | Lumpsum |  | Consulting | 1 | 18500
House keeping | Daily House keeping of the construction site during the work progress | Civil | Housekeeping (HK) | Lumpsum |  | Site Work | 1 | 4500
Hoarding | Removal / Dismantling of gypsum hoarding prior to shop opening and carting away all debris from Mall premises. The cost to include touchups to mall surfaces damaged during fit out or during hoarding installation. | Civil | Miscellaneous (MI) | Lumpsum |  | Site Work | 1
Deep Cleaning Works | Providing a deep cleaning of the store prior to handover which includes, complete cleaning of the store like flooring, walls, doors, glass windows, furniture and fixture, and all other architectural items as well as ANTA supplied items. | Civil | Housekeeping (HK) | Lumpsum |  | Site Work | 1 | 5850
Demolition | Demolition of existing services, flooring, ceiling, walls, electrical cabling, ducts, grills, lights and others(if any) | Civil | Dismantling (DG) | Lumpsum |  | Site Work | 1 | 2000
Discarding | Discarding the debris at the mall appointed yard or landfill | Civil | Miscellaneous (MI) | Lumpsum |  | Site Work | 1 | 1500
P.C.C Screeding Work | Supply & installation of P.C.C screeding for levelling of approx 100mm / 150mm thk in ratio 1:3:4 in order to obtain perfect line and level for flooring work. Existing floor to be properly cleaned & unwanted tabs to be removed and covered the entire area with 1000 gauge polythene sheet before screed is layed. Cost to be inclusive of self levelling in order to obtain smooth & aligned level floor etc. complete. | Civil | Flooring (FL) | SQM |  | Site Work | 386 | 65
1500 x 750 mm Grey terrazo floor ceramic tiles. 10 mm thick-Grey | Only nstallation of 1500 x 750 MM -10 mm ceramic (as supplied by clinet) floor tiles including necessary epoxy grouting(caulking) 2 mm spacing and tile glue as per the drawing. Tiles to be fitted with help of appropriate required bedding with proper method of installation as per the manufacture. Mapei adhesive using notched trowel which help the bonding agent to spread uniformly. Rate shared is inclusive of protecting the tiles during construction & all cut out required by any services within the floor. P.C RATE OF TILE 50-60 AED PSQMT | Civil | Flooring (FL) | SQM |  | Site Work | 255 | 90
SS strip between mall and retail area flooring | Supply & istallation 5 mm SS strip beween mall pop in floor and retail space flooring at the shop front entrance | Civil | Flooring (FL) | Linear Meter |  | Site Work | 21 | 110
Brass finished SS inlay Strips | Supply and fixing of 5mm x 10 mm SS Transition brass finished Strips between two different tiles as shown on approved drawings. | Civil | Flooring (FL) | Linear Meter |  | Site Work | 51 | 140
600x 600 mm porcelain full body tile anti skid -white | Supply & installation of 600 x 600 mm white antiskid porcelain white tile for the back store area with 2 mm spacer and appropriate grouting(caulking). P.C RATE OF TILE 60 AED PSQMT | Civil | Tile (TE) | SQM |  | Site Work | 79 | 110
MDF painted skirting white on exposed walls at back storage area | Providing and installation of 50mm high skiritng MDF painted in white matt finish on all exposed areas wall bottom in the back store | Civil | Miscellaneous (MI) | Linear Meter |  | Site Work | 50 | 75
MDF painted light grey . Nippon paint coated skirting on exposed walls at FOH | Supply & application of nippon paint 50 mm height at periphery walls on MDF skirting as per the design and drawing (Nippon Paint NP-YN02A) | Civil | Miscellaneous (MI) | Linear Meter |  | Site Work | 76 | 85
Secondary and partial ceiling Plain gypsum ceiling with MDF support for fixture slotted channel at periphery ceiling | Providing and fixing of FR 12.5 mm thick gypsum board ceiling @ 3300 mm high along the shopfront entrances area and sales areas on G.I suspensions system with furring channels, fiber glass mesh tape with joint compound over the joints. Leave ready to receive paint decorations, all complete as per the design specs and shop drawing. A gap of 10 mm will be left in between the gypsum boards in the center ceiling to fill in the 10 mmSS brass strip. All required MEP cut-outs & other services to be included on the cost etc complete. | Civil | False Ceiling (FC) | SQM |  | Site Work | 80 | 120
Trial room ceiling | Providing and fixing of FR 12.5 mm thick gypsum board ceiling and coves @ 2800 mm on G.I suspensions system with furring channels, fiber glass mesh tape with joint compound over the joints. Leave ready to receive paint decorations, all complete as per the design specs and shop drawing. A gap of 10 mm will be left in between the gypsum boards in the center ceiling to fill in the 10 mmSS brass strip. All required MEP cut-outs & other services to be included on the cost etc complete. | Civil | False Ceiling (FC) | SQM |  | Site Work | 16 | 120
10 mm aluminum brass finish insert strip in the ceiling | Supply & installation of 10 mm alumnium brass finish strip inlay in the gysum ceiling 10x10 mm with curved strips included | Civil | False Ceiling (FC) | Linear Meter |  | Site Work | 65 | 95
Light box soft film vertical for show window back lit | Supply & Instalation of soft film light box backlit @3300 mm FFL . LED lights measurd sepeartely at show window arch | Civil | Lighting Fixtures (LF) | SQM |  | Site Work | 1 | 2500
Square 50x50 tube ceiling with grid threaded rod support | Supply & installation 50x50 alumnium box section square tube ceiling grid as per the design powder coated ANTA pure black as per the size and length, supported by threaded rods from the ceiling soffit securely | Civil | False Ceiling (FC) | Linear Meter |  | Site Work | 210 | 140
Gypsum bulkheads and coves in the ceiling | Supply & installation of gypsum board FR bulkhead around square tube ceiling in gypsum board FR - 150 mm | Civil | False Ceiling (FC) | Linear Meter |  | Site Work | 98 | 50
Gypsum bulkheads and coves in the ceiling | Supply & installation of gypsum board FR bulkhead around square tube ceiling in gypsum board FR - 300 mm | Civil | False Ceiling (FC) | Linear Meter |  | Site Work | 52 | 65
Gypsum bulkheads and coves in the ceiling | Supply & installation of gypsum board FR bulkhead around square tube ceiling in gypsum board FR - 600 mm | Civil | False Ceiling (FC) | Linear Meter |  | Site Work | 73 | 75
600 x 600mm Grid ceiling tiles at BOH Area | supplying and installing 600mm x 600mm X 12.5 mm thk mineral fibre modular false ceiling @ 3300mm AFFL using 24mm grid system to be installed as per design/detail/manufacturer's installation specifications at back store area. All required MEP cut-outs & other services to be included on the cost etc complete. | Civil | False Ceiling (FC) | SQM |  | Site Work | 75 | 85
Access panel | Providing and installation of ready made access panel at sales & shopfront areas - 600 x 600mm | Civil | Miscellaneous (MI) | Nos. |  | Site Work | 3 | 450
Access panel | Providing and installation of ready made access panel at sales & shopfront areas - 450 x 450mm | Civil | Miscellaneous (MI) | Nos. |  | Site Work | 3 | 300
Gypsum & MDF(supports) single side partition walls at periphery -FOH-100 mm thick | Supply and fixing of single side 100 mm thick FR 18 mm MDF board supports and 12.5 mm FR gypsum partition lining directly fixed at existing block/Tenancy wall at sales areas and Back of house structure wall area with G.I 70 mm studs (Fixing of studs to be from floor to slab soffit @4000 FFL) . Skimmed and primed ready to receive paint decoration. | Civil | Wall Finish (WF) | SQM |  | Site Work | 135 | 125
Gypsum & MDF double side partition wallsand trial room and shop front walls at periphery - 140 mm thick | Supply & Install double sided 100mm partition . one side FR 18 mm MDF and 12.5 mm FR gypsum and other side only gypsum partition with 72 mm G.I studs (Fixing of studs to be from floor to slab soffit) with complete reinforcement for fixing wall accessories all as per the layout partition. Final surface to be skimmed and primed ready to receive finish as specified in the drawing. | Civil | Wall Finish (WF) | SQM |  | Site Work | 225 | 170
Single side gypsum lining @backstore walls and one FOH wall | Supply & Install single sided 65 mm FR 12.5 mm FR gypsum partition fixed on single sides with 50 mm G.I studs (Fixing of studs to be from floor to slab soffit) with complete reinforcement for fixing wall accessories all as per the layout partition. Final surface to be skimmed and primed ready to receive finish as specified in the drawing. | Civil | Wall Finish (WF) | SQM |  | Site Work | 70 | 115
Column cladding for mirror back cladding | Supply and fixing of single side 12 mm FR MDF directly fixed at existing block/tenancy for central column cladding for the install,ation of peg boards and mirrors | Civil | Miscellaneous (MI) | SQM |  | Site Work | 18 | 120
Partition walls painting. ANTA Art paint. Sales area, trial rooms and columns | Supply & applying of textured ANTA rock white textured paint finishes on to surfaces as indicated in the approved drawings. Painted surface areas to be sand papered, cleaned, dry & completely free from dust, oil, laitance etc. all traces of release agent must be removed. Application to be 1 coat of primer, 2 coats stuccco & 2 coat of textures paint. Paints to be applied with help of Roller and scrapper only as per manufacture specification in order to get the smooth finish. | Civil | Painting (PT) | SQM |  | Site Work | 160 | 140
Ceiling Soffit and above ceiling partitions top level and exposed MEP painting Area @ 4000 mm FFL. ANTA pure Black paint | Supply & application of exposed soffit and MEP services with ANTA pure black water based epoxy paint to cover all the services like ducts, pipes, conduits and cable trays except FF/FA items. Surfae will be cleaned dust free and bonding primer will be applied before the paint finish. painting will be done with spray compressor | Civil | False Ceiling (FC) | SQM |  | Site Work | 265 | 45
Gypsum ceiling paint ANTA Rock white art paint | Supply & applying of textures ANTA rock white paint finishes( jotun matt)on to surfaces as indicated in the approved drawings. Painted surface areas to be sand papered, cleaned, dry & completely free from dust, oil, laitance etc. all traces of release agent must be removed. Application to be 1 coat of primer, 2 coats stuccco & 2 coat of textures paint. Paints to be applied with help of Roller only as per manufacture specification in order to get the smooth finish. | Civil | Painting (PT) | SQM |  | Site Work | 58 | 45
White RAL9010 paint at BOH area walls | Painting the internal walls at store room walls in RAL 9010 white finish as per approved drawing | Civil | Painting (PT) | SQM |  | Site Work | 195 | 30
Painting on coves at sales and trial room areas | Supply & applying of textures ANTA rock white paint finishes on to surfaces as indicated in the approved drawings for coves . Painted surface areas to be sand papered, cleaned, dry & completely free from dust, oil, laitance etc. all traces of release agent must be removed. Application to be 1 coat of primer, 2 coats stuccco & 2 coat of textures paint, ANTA rock white. Paints to be applied with help of Roller only as per manufacture specification in order to get the smooth finish. | Civil | Painting (PT) | SQM |  | Site Work | 40 | 45
Rolling Shutter | Provide & fixing high strength clear polycarbonate rolling shutter of size specify on the drawings. Rolling mechanism to be hidden in FR Class 1 MDF 18mm thk boxing with required opening for service maintenance. Hollow tubular MS metal post to be provided right from floor slab till soffit of slab fixed with base plate & expanding bolts. MS post of size 100mm x 100mm to be in black powder coated finish. Shutter to be made up of clear horizontal polycarbonate slats linked by horizontal aluminum P/C joining slats as per ANTA project Manager approved shade / mall approved. Guides with brushes made out of champagne color Powder coated extruded aluminum channel section fitted with friction semi - hard PVC glide strips for low maintenance & quietness of operation concealed. Operation of this shutter can be done both ways manually by chain & inboard mounted single phase motor with control panel including key switch, P/c switch push button box placed inside & outside the store @ 300mm from AFFL. Sample of the shutter to be submitted to ANTA for approval. - At Entrance 1 - 5500 mmL x 4000 mmH | Civil | Doors (DR) | Nos. |  | Site Work | 1 | 19850
Rolling Shutter | Provide & fixing high strength clear polycarbonate rolling shutter of size specify on the drawings. Rolling mechanism to be hidden in FR Class 1 MDF 18mm thk boxing with required opening for service maintenance. Hollow tubular MS metal post to be provided right from floor slab till soffit of slab fixed with base plate & expanding bolts. MS post of size 100mm x 100mm to be in black powder coated finish. Shutter to be made up of clear horizontal polycarbonate slats linked by horizontal aluminum P/C joining slats as per ANTA project Manager approved shade / mall approved. Guides with brushes made out of champagne color Powder coated extruded aluminum channel section fitted with friction semi - hard PVC glide strips for low maintenance & quietness of operation concealed. Operation of this shutter can be done both ways manually by chain & inboard mounted single phase motor with control panel including key switch, P/c switch push button box placed inside & outside the store @ 300mm from AFFL. Sample of the shutter to be submitted to ANTA for approval. - At Entrance 1 - 4500 mmL x 4000 mmH | Civil | Doors (DR) | Nos. |  | Site Work | 1 | 17950
Stock Room Door. Back store entrance | Supply and installation of new 2hr FR wooden door and frame with viewing glass slat window of approximate size 850 x 2250mm with mentioned finish Ironmongery to be Dorma/geze make inclusive of heavy duty door closer, handle, locks, heavy duty magnetic door catacher brush, SS 1.5mm thk, screwless kick plate glued to door to be powder coated to match door and surrounding wall panels etc complete. | Civil | Doors (DR) | Nos. |  | Site Work | 2 | 3750
Trial room Door | Only installation of Trial room door made with MDF PU painted and hollow core material with required finish | Civil | Doors (DR) | Nos. |  | Labour | 4 | 750
Concelaed door | Supply & installation of MDF concealed door with 6 mm mirror | Civil | Doors (DR) | Nos. |  | Site Work | 1 | 3850
Shop front cladding structure. | Supply & Installation of single sided (horizontally & vertically) for bulkhead and ceiling(for champagn gold metal finish) cladding with 18mm thk FR MDF board with complete GI framing or MS support with special bonding primer for surface preperation to receive the stone textured paint finish, as per the approved drawing and design | Civil | Cladding (CD) | SQM |  | Site Work | 68 | 350
Shop front glass at arch | Shop front 15 mm glass in front of the display arches | Civil | Glass Works (GL) | Nos. |  | Site Work | 1 | 5850
Shop Front real stone texture paint | Supply & applying of real stone texture paint finishes on to surfaces as indicated in the approved drawings. Painted surface areas to be sand papered, cleaned, dry & completely free from dust, oil, laitance etc. all traces of release agent must be removed. Application to be 1 coat of primer, 2 coats stuccco & 2 coat of textures paint. Paints to be applied with help of Roller and scrapper only as per manufacture specification in order to get the smooth finish. | Civil | Painting (PT) | SQM |  | Site Work | 50 | 325
Featured show window arches | Supply & installation of multi arch shaped show window thematically design, made in glass reiforced gypsum(GRG) or FR MDF bespoke design with all concealed coves spaces for LED lights and Platform decorative metal baked paint board,Same color as the art paint in the store with soft film backlit back panel | Civil | Miscellaneous (MI) | Lumpsum |  | Site Work | 1 | 23500
Champagne gold aluminium cladding on shop front | Supply & installation of 2 mm thick aluminium sheet with end cap 10x20 mm with champagne gold finish glued to the FR 18 mm MDF structure as per the design and drawings approved with proper surface preperation and detail | Civil | Cladding (CD) | SQM |  | Site Work | 70 | 695
ANTA logo at shop front entrance . | Supply & Installation of Stainless steel/alumnium painted edging H520 luminous LOGO(3500K/champagne gold) made in alumnium finished chapagne gold colour and plexi glass white with samsung LED lights 3500 k as per approved sample. Logo and English signage. No arabic logo included | Civil | Branding (BR) | Item |  | Site Work | 2 | 11250
ANTA logo at cash desk | Supply & Installation of Stainless steel painted edging H520 luminous LOGO (3500K/rock white made in alumnium finished chapagne gold colour and plexi glass white with samsung LED lights 3500 k as per approved sample | Civil | Branding (BR) | Item |  | Site Work | 1 | 5250
Silver Mirror cladding | Providing and installation of 6 mm thk silver mirror with smooth edges for the cladding on the walls for trial room, column and trail room main wall, with proper MDF support and side angles - Trial room - 1400 mmW x 2650mmH | Civil | Cladding (CD) | Nos. |  | Site Work | 4 | 1850
Silver Mirror cladding | Providing and installation of 6 mm thk silver mirror with smooth edges for the cladding on the walls for trial room, column and trail room main wall, with proper MDF support and side angles - Column - 1000mmW x 4150mmH | Civil | Cladding (CD) | Nos. |  | Site Work | 4.2 | 1150
Silver Mirror cladding | Providing and installation of 6 mm thk silver mirror with smooth edges for the cladding on the walls for trial room, column and trail room main wall, with proper MDF support and side angles - Trial room opp wall - 3300 mmW x 2850mmH | Civil | Cladding (CD) | Nos. |  | Site Work | 2 | 8500
Silver Mirror cladding | Providing and installation of 6 mm thk silver mirror with smooth edges for the cladding on the walls for trial room, column and trail room main wall, with proper MDF support and side angles - Dressing mirror - 800 mmW x 2700 mmH | Civil | Cladding (CD) | Nos. |  | Site Work | 2 | 1200
Embedded Light Box | Supply & Installation of embedded light box. Graphics supplied by Anta | Civil | Lighting Fixtures (LF) | Nos. |  | Labour | 1 | 4250
Fitting room passage door architrave | Supply & installation of (PANTONE8001 C)(20×10mm) Fitting room passage door opening. Painted 18 mm MDF (chasing wall paint color) door cover | Civil | Doors (DR) | Item |  | Site Work | 2 | 950
Shop fixture installation | Coordination & installation charges for the metal and shop fixtures(by others), cash counter back cabinet, and others by third party | Civil | Design Service (DS) | Lumpsum |  | Consulting | 1 | 27500
Back store racks | Supply & installation of back store racks made with 18 mm MDF shelves Fire rated and MS angles slotted channel powder coated as per the sie required. Sixe: 1500 L x400 W x2400H | Civil | Metal Fabrication (MF) | Nos. |  | Site Work | 42 | 750
Wall graphic painting with yellow colour | Preperation of wall stripes graphics and Anta quote with required yellow paint manually | Civil | Painting (PT) | Item |  | Site Work | 1 | 3500
Pest control with certification | Providing Pest Control / Anti termite treatment by appointing specialized agency as per specification mentioned by Bureau of local Standard & Agencies. | Others | Pest Control (PO) | Lumpsum |  | Site Work | 1 | 4500
Electrical Distribution Board (DB) and cables Includes - Supply, Assembling, Dressing, Installation, Labelling, Testing & Commissioning. Accessories - Cable Gland - Brass/Copper/PVC, Lugs, DIN-Rail, Neutral Bars, Earthing Bars, Buss Bars, Ferruls, Loop wires - Color coded, Labelling, Etc complete. | Metal Enclosure/DB, Isolator'Breaker - Mains Breaker/Isolator - 3/4 Pole, Breaker - 1/3/4 Pole, ELCB - 4 Pole, Contactor - 3/4 Pole, Timer with Back-up Battery (Model : Hager EH011), | MEP | Electrical (EL) | Lumpsum |  | Site Work | 1 | 15400
Armouired cable | Supply and installation of armoured cable from Isolator to DB if applicable | MEP | Electrical (EL) | RMT |  | Site Work | 10 | 350
lIghting points conduits and cabling | Supply, Installation, GI Conduiting, Wiring, Ceiling Rose/plug socket, Spur outlets, End Termination, Testing & Commissioning.Switches to be installed at required height from finished floor level for Sales as per site condition or if spicfied in the drawings. Accessories - Color Coded Wires, Conduits - GI, Metal Trunking - GI, Metal Cable Tray, Junction Boxes, etc complete. - Light points -Shop front, Ceiling - Retail Area, Back of the House, trial rooms, Cove lights | MEP | Electrical (EL) | Nos. |  | Site Work | 210 | 140
Track lightS-black | Only installation of 40 watt track lights (black) of beam angle 15 & 36 degree on the 50x50 alumnium square box channel with1.0m three-wire track (with power head and tail cover) | MEP | Electrical (EL) | Nos. |  | Labour | 118 | 75
Wire trackS-black | Only installation of 1.0m three-wire track (with power head and tail cover) | MEP | Electrical (EL) | Nos. |  | Labour | 126 | 50
LED spot lightS-fitting room | Only installation of white colour LED spot light recessed 20 watt 36 degree beam angle . 3500 K for trial rooms-white | MEP | Electrical (EL) | Nos. |  | Labour | 12 | 65
LED spot Lights | Only installation of white colour LED spot light recessed 40 watt 36 degree beam angle . 3500 K fo Flat tops of stores; Access to trial area. White | MEP | Electrical (EL) | Nos. |  | Labour | 6 | 65
LED spot Lights | Only installation of white colour LED spot light recessed 32 watt degree beam angle . 3500 K fo Flat tops of stores; Access to trial area. White | MEP | Electrical (EL) | Nos. |  | Labour | 18 | 65
Pulse lights STD | Only installation of Black Frame Pulse Light (unchanged) standard 1000 mm. One switch for every six lights | MEP | Electrical (EL) | Nos. |  | Labour | 132 | 65
LED linear cove light and diffused lights | Only installation of Silicone overflow light strip 4500K . Reflective light trough locations such as trial room and periphery ceiling | MEP | Electrical (EL) | Nos. |  | Labour | 55 | 20
Back store light | Supply & Installation of 60x60 lights for ceiling LED/6000k/[12W,1200mm长] | MEP | Electrical (EL) | Nos. |  | Site Work | 12 | 240
By pass switch | Supply and installation of By-pass selector switch with lock and key for lighting circuit as indicated in Electrical Load Schedule (Make : Giffex/Equivalent) | MEP | Electrical (EL) | Nos. |  | Site Work | 2 | 345
Power Sockets, Cables and Electrical Outlets | Providing 13A Single Switched socket outlet | MEP | Electrical (EL) | Nos. |  | Site Work | 4 | 205
Power Sockets, Cables and Electrical Outlets | Providing 13A Twin Switched socket outlet for Cash Counter & IT table | MEP | Electrical (EL) | Nos. |  | Site Work | 2 | 205
Power Sockets, Cables and Electrical Outlets | Provide power point with isolator at the shop front for shopfront main signage with timer & contactor installed in DB | MEP | Electrical (EL) | Nos. |  | Site Work | 2 | 750
Power Sockets, Cables and Electrical Outlets | Provide power point & 13A twin socketfor Fire panel & DCD 24x7 panel OR connection to mall emergency power if available | MEP | Electrical (EL) | Nos. |  | Site Work | 2 | 250
Power Sockets, Cables and Electrical Outlets | Provide power point with isolator for Fan Coil Units and wiring for thermostat | MEP | Electrical (EL) | Nos. |  | Site Work | 3 | 800
Power Sockets, Cables and Electrical Outlets | Provide power point with isolator for Rolling shutter -with additional 3-core x 2.5 sqmm cable pulled from out-put of the isolator till outside key box with end connector for emergency requirement | MEP | Electrical (EL) | Nos. |  | Site Work | 2 | 985
Power Sockets, Cables and Electrical Outlets | Supply and Installation of floor boxes. Floor box to be installed at min 90-100mm depth from FFL and sufficient gap between top cover and socket outlet to be maintained for inserting 3-pin top, data point | MEP | Electrical (EL) | Nos. |  | Site Work | 14 | 1050
Power Sockets, Cables and Electrical Outlets | Provide spur outlets for wall units/light box | MEP | Electrical (EL) | Nos. |  | Site Work | 24 | 125
Power Sockets, Cables and Electrical Outlets | Service platform to be provided for mall main isolator with proper supports in MS chequered sheet having anti red oxide painted & painted in black emulsion paint -If applicable | MEP | Electrical (EL) | Nos. |  | Site Work | 3 | 4500
Power Sockets, Cables and Electrical Outlets | Coordination charges for applying new meter - | MEP | Design Service (DS) | Item |  | Consulting | 1 | 1800
Power Sockets, Cables and Electrical Outlets | Security Deposit Charges - If Applicable (Original Receipts to be submited to ANTA | Civil | Miscellaneous (MI) | Item |  | Consulting | 1
Fire Alarm Works | Supply & install required smoke detector/ void smoke detectors/ break glasss/ sounder as per mall Specification including wiring, conduiting and connect to the existing system including reprogramming | MEP | Fire Alarm System (FA) | Item |  | Site Work | 1
Fire Alarm Works | Supply of new and relocation of existing circular recessed LED emergency light fittings including wiring | MEP | Fire Alarm System (FA) | Nos. |  | Site Work | 14 | 850
Fire Alarm Works | Supply of new and relocation of existing LED exit light fittings including wiring | MEP | Fire Alarm System (FA) | Nos. |  | Site Work | 4 | 750
Fire Alarm Works | Supply of new and relocation of existing Smoke detector | MEP | Fire Alarm System (FA) | Nos. |  | Site Work | 14 | 750
Fire Alarm Works | Supply of new and relocation of existing Void detector with LED indicator | MEP | Fire Alarm System (FA) | Nos. |  | Site Work | 4 | 400
Fire Alarm Works | Supply of new and relocation of existing Manual break glass with acrylic cover | MEP | Fire Alarm System (FA) | Nos. |  | Site Work | 2 | 850
Fire Alarm Works | Supply of new and relocation of existing Fire Alarm Sounder | MEP | Fire Alarm System (FA) | Nos. |  | Site Work | 2 | 1250
Fire Alarm Works | Testing, Commissioning, and interfacing of Fire Alarm System with mall existing system. | MEP | Fire Alarm System (FA) | Item |  | Site Work | 1 | 5500
Fire Alarm Works | Supply and installation of control modules, monitor and interfacing modules with mall panels wherever applicable | MEP | Fire Alarm System (FA) | Item |  | Site Work | 1 | 5250
Fire Alarm Works | Service platforms to be provided for accessing the Void smoke detectors with proper supports in MS chequered sheet having red oxide painted & painted in black emulsion paint.-If applicable | MEP | Fire Alarm System (FA) | Item |  | Site Work | 4 | 4500
Fire Fighting Works | Supply and fix fire extinguisher (CO2 and Powder) with proper support system | MEP | Fire Fighting (FF) | Nos. |  | Site Work | 4 | 350
Fire Fighting Works | Provide & Install and relocation of existing upright sprinkler point as per the layout | MEP | Fire Fighting (FF) | Nos. |  | Site Work | 12 | 350
Fire Fighting Works | Provide & Install and Supply of new and relocation of existing pendant sprinkler point as per the layout | MEP | Fire Fighting (FF) | Nos. |  | Site Work | 29 | 515
Fire Fighting Works | Supply and installation of Zone control valve if applicable | MEP | Fire Fighting (FF) | Item |  | Site Work | 1 | 515
Fire Fighting Works | Interfacing of Zone control valve to ANTA/ Mall fire panel if applicable | MEP | Fire Fighting (FF) | Item |  | Site Work | 1 | 4250
Fire Fighting Works | Testing & Commissioning and interfacing of fire fighting system with mall exisitng system | MEP | Fire Fighting (FF) | Item |  | Site Work | 1 | 5500
Fire Fighting Works | Service platform to be provided for acessing the mall zone control valve with proper supports in MS chequered sheet having anti red oxide painted & painted in black emulsion paint.-If Applicable | MEP | Fire Fighting (FF) | Item |  | Site Work | 2 | 4500
Air Conditioning Works | Supply and installation of FCU's as per make approved by mall management inclusive of all valves (7 Tons). SKM or Mitsubishi make | MEP | HVAC (AC) | Nos. |  | Site Work | 3 | 15450
Air Conditioning Works | Supply and install of thermostat as per Mall requirement (If required) | MEP | HVAC (AC) | Nos. |  | Site Work | 3 | 750
Air Conditioning Works | Supply and installation of pre-insulated duct with necessary supports and complete connection to 3 Nos FCUs. | MEP | HVAC (AC) | Item |  | Site Work | 1 | 27850
Air Conditioning Works | Supply and installation of VCD's, flexible ducts and split dampers | MEP | HVAC (AC) | Item |  | Site Work | 1 | 4250
Air Conditioning Works | Supply and installation of linear AC 2/3 slots grills (inside grill to be painted Black or white in color), square diffuser, dampers, plenums etc as per design drawing including IT Room area. Color of the grill to match withn the ceiling colors. | MEP | HVAC (AC) | Item |  | Site Work | 1 | 5860
Air Conditioning Works | Service platform to be provided on all FCU's including stab out with proper supports in MS chequered sheet having anti red oxide painted & painted in black emulsion paint.-If Applicable | MEP | HVAC (AC) | Item |  | Site Work | 3 | 5450
Air Conditioning Works | Cleaning / Maintenance on FCU units during the defect liability period (4 visits in a year) - By Mall | MEP | HVAC (AC) | Item |  | Site Work
Air Conditioning Works | Supply and Installation of BMS Panel, programming/interfacing, testing and commissioning - If applicable as per mall - by Mall | MEP | HVAC (AC) | Item
Air Conditioning Works | Supply and installation of terminal boxes for FCUs-if applicable | MEP | HVAC (AC) | Nos. |  | Site Work | 3 | 2850
Air Conditioning Works | Supply and installation of BTU meter as per Mall requirement | MEP | HVAC (AC) | Item |  | Site Work | 1
Air Conditioning Works | Interfacing modules with IFU with other items | MEP | HVAC (AC) | Nos. |  | Site Work | 5 | 450
IT System/Voice/Data & CCTV/Security Syste/BGMS | IT System, Voice & Data and CCTV System - Includes supply, installation, cable pulling, terminaton, labelling, Fluke test report etc complete as per TELEPHONE/DATA & CCTV layout | MEP | Networking (NW) | Lumpsum |  | Site Work | 1 | 16450
IT System/Voice/Data & CCTV/Security Syste/BGMS | Back Ground Music System - includes supply of speakers & amplifier, installation, cable pulling, and Fire alarm interfacing. . Including speakers | MEP | PA System (SY) | Lumpsum |  | Site Work | 1 | 13450
Provisional Sum | Green Star | Civil | Miscellaneous (MI) | Lumpsum |  | Consulting | 1 | 5000

## Dropdown Options
AC | Acoustic (AT) | Labour | 0
Bags | BMS (BM) | Raw Material | 5
Boards | Branding (BR) | Transportation
Boxes | Carpentry (CR) | Consulting
Brass | CCTV & IT (IT) | Bought Out
Bundles | Civil (CL) | Production
Coil | Cladding (CD) | Site Work
CuFt | Design Service (DS)
Cum | Dismantling (DG)
DC | Doors (DR)
Days | Electrical (EL)
Dozen | Excavation (EX)
Each | External Development (ED)
Feet | False Ceiling (FC)
Ha | Fire Alarm System (FA)
Hours | Fire Fighting (FF)
Inch | Flooring (FL)
Job | Furniture (FR)
KW | Glass Works (GL)
Kg | Housekeeping (HK)
Km | HVAC (AC)
L | Interior (IR)
Length | Landscaping (LD)
Linear Meter | Lighting Fixtures (LF)
Lot | Masonry (MS)
Lumpsum | MEP (ME)
MW | Metal Fabrication (MF)
Metric Ton | Miscellaneous (MI)
Months | Networking (NW)
Nos. | Non-Tender (NT)
Packets | Painting (PT)
Pairs | Panelling Work (PW)
Pieces | Partition (PN)
Pound | PA System (SY)
Quintal | Pest Control (PO)
RFT | Plumbing (PL)
RMT | PoP (PP)
Rolls | Recce Service (RS)
SQFT | Signage (SG)
SQM | Tile (TE)
Sample | Wall Finish (WF)
Service
Set
Sheets
SqInch
Ton
Units
Watts/M.Sq-K
Watts/meter-K
gm
hp
item
mL
meter
mm
trip