## Fit Out
USPOLO @ IBN
Unit :
Client : Lals Retail Llc Date :
Subject : Turnkey Fit Out Works
SR | DESCRIPTION | QTY | UNIT | RATE | AMT in Dhs.
A | Preliminaries
| Site Mobilization , Temporary Power , Protection of Mall Corridor for material movement | 1 | item |  | 0
| Allowance for insurances required for the execution of work - contractor's all risk, Employers liability and third party insurance all in accordance with the landlord mall requirements. | 1 | item |  | 0
| Technical Drawing Including all required drawing works for Mall & Statutory approvals, Shop Drawings for execution at site & production. | 1 | item |  | 0
| Tarkheez Approval - Drawing preparation , Submission , Initial Inspection, COC Approval , Final Completion Certificate | 1 | item |  | 0
| DEWA Dwg Submission & Approval , DEWA Inspection & Meter Energization | 1 | item |  | 0
| DCD Dwg Submission & Approval . Final DCD inspection & certificate ( AMC to be provided by client) | 1 | item |  | 0
| Relocation of installed Hoarding for shop front works | 70 | m² |  | 0
| Removal of Hoarding & Cart away during store opening | 1 | item |  | 0
B | Civil Works
| Cement mortor screed to the floor upto 12cm to achieve uniform level , including labour charges for material shifting. | 142 | m² |  | 0
| installation of client supplied NG Kutahya Ceramic Light coloured USPA Flooring - FL-01 180 x 1180 mm | 142 | m² |  | 0
installation of client supplied NG Kutahya Ceramic Elis Bone Flooring - FL-02, 400 x 400 mm
| Supply & installation of floor protection with 6mm ply , polythene & masking tape | 142 | m² |  | 0
| Supply & install 5mm SS transition strip between floor. | 7 | rmt |  | 0
| Supply & installation of white MDFlam skirting board 10 cm height as per the darwings. | 12 | rmt |  | 0
| Supply & installation of Russian skirting board 10 Cm height as per the darwings. | 2 | rmt |  | 0
| Supply & installation of Ceramic skirting 7 Cm height as per the darwings. | 17 | rmt |  | 0
C | Ceiling Works
| Supply & installation of plasterboard ceiling@ FOH and BOH area . Celing Height : 3300 mm/3100 mm | 137 | m² |  | 0
| Supply & apply fenomastic paint RAL 9010 on plasterboard ceiling @ FOH and BOH area | 137 | m² |  | 0
| Supply & installation of 200 mm Bulk head as per the drawings @ shopfront | 5 | rmt |  | 0
| Suply & installation of Acess panel | 3 | Nos |  | 0
D | Walls & Partition Works
| Supply & installation of 18mm FR MDF wall lining on appropriate framework and supports to take wall panels as per layout inclusive of cutouts / opening. | 186 | m² |  | 0
| Supply & installation of 18mm FR MDF on one side and 12.5 mm gypsum on other partition as per layout inclusive of cutouts / opening | 69 | m² |  | 0
| Apply fenomastic paint on walls and partitions as per approved finish. | 254 | m² |  | 0
| Supply & install door for DB & FACP. | 1 | item |  | 0
E | Façade & Signage
| Supply & insytallation of FR MDF portal for portal and bulkhead to receive final finishes with appropriate metal structure as required | 1 | item
| Supply & installation of Roller shutter (3900 x 3100) mm | 1 | item |  | 0
| Supply & installation, cladding of shopfront portal, Shop front full Column ,20x20cm Shutter Post, signage bulkhead in Solid wood with Moudling Design, Bulkhead ceiiling only entrance area, Benjamim moore paint. | 1 | item |  | 0
| Supply & Installation of "US POLO ASSN.SINCE 1890" sign to the façade as per the details provided. Size : 1500 x 300 mm | 1 | item |  | 0
| Supply & install 3D cutout double horseman illuminated logo with non illuminated sign reading "USPA" . Size : 331 x 570 mm | 2 | item |  | Rate Only
| Supply & install 3D cutout double horseman illuminated logo . Size : 370 x 650 mm | 1 | Nos |  | 0
| Supply & install 3D iluminated sign reading "USPA" in front façade. | 1 | Nos |  | 0
| Supply & Install Heritage Seal Logo - illuminated at Cash Desk | 1 | Nos |  | 0
| Supply & install Moulding with red,white, blue color @ cash desk. | 1 | item |  | 0
| Supply & Install illuminated 4000K Sign reading "USPLO ASSN " , Non Lit Sign Reading "SINCE 1890" on wall cabinets as per elevation | 4 | set |  | 0
| Supply & installation of Tri Color illuminated Acrylic LED feature on ceiling | 33 | rmt |  | Rate Only
Supply & Installation of Light Box
| 650 x 1270 mm - Shoe / Bag Display Unit | 1 | Item |  | Rate Only
| 800 x 2800 mm - RHS Shop Front | 1 | item |  | Rate Only
F | Electrical Works
1 | Lighting Points
| Install light points including GI conduits, wiring and termination (2.5 mm² /1.5 mm² , Ducab LSF Cable) including flexible wire connecters | 143 | Nos |  | 0
| Install Furniture Light Point | 7 | Nos |  | 0
| Back Store Linear Lights | 5 | Nos |  | 0
| Lighting point for Ceiling Accessory Shell | 7 | Nos |  | 0
| Installation of track | 65 | rmt |  | 0
| Lighting point for Tri Band ceiling LED | 33 | rmt |  | 0
2 | Power Points
| conduiting , cabling & termination of 13 A , 220 V single switched point ( 4 mm² /2.5 mm² LSF cable) | 6 | Nos |  | 0
| conduiting , cabling & termination of 13 A , 220 V double switched point ( 4 mm² /2.5 mm² LSF cable) | 4 | Nos |  | 0
| conduiting , cabling & termination of furniture light point ( 4 mm² /2.5 mm² LSF cable) | 10 | Nos |  | 0
| Spur outlets for internal signages( horse logo with uspolo assn at cash back (1), fitting room (2) signage, Special hanging ceiling light (4), seal logo at center units (2), Column horse logo at façade (1), For Visual area light point (1), seal logo at front Column (1), for Lobby mirror wall light point (1) | 13 | Nos |  | 0
| Conduiting , cabling & termination of Floor socket point ( 4 mm² /2.5 mm² LSF cable) | 1 | Nos |  | 0
| Supply conduiting , wiring & installation of isolator for signage , FCU ,Shutter | 4 | Nos |  | 0
| Conduiting for CCTV | 6 | Nos |  | 0
| Supply and Installation of Control and Grid Provision | 1 | Nos |  | 0
| Supply and Installation of Tele-mechanic Timer and contactor for entrance sign Show window light , TV , Furniture light etc as per request | 2 | Nos |  | 0
3 | Cable Trays
| Supply and Install cable trays | 1 | item |  | 0
4 | AV System
| Supply and install conduits and pull wires for speakers & sub woofer | 4 | Nos. |  | 0
| Supply & installation of data /power provision for TV wall | 4 | Nos |  | 0
5 | Emergency & Exit Lights
| Supply, Installation, Conduiting, cabling and termination of Emergency lights. | 4 | Nos |  | 0
| Supply, installation, Conduiting, cabling and termination of Exit Lights. | 5 | Nos |  | 0
6 | Telephone & Data Works
| Supply & installation of Telephone /Data /cctvconduiting . | 18 | Nos |  | 0
| Supply & installation of Data points conduiting wifi , people counting | 2 | Nos |  | 0
7 | Testing & commissioning
| Supply & installation of DB, Dressing and main cable termination. | 1 | Item |  | 0
| Meggar Test , Commissioning | 1 | Item |  | 0
G | HVAC Works
| Supply & Installation of ducted type FCU, valve package | 1 | item
| Condensate Drain Piping | 1 | item
| Chilled water piping insulation with chemical fl;ushing & 3rd paty certificate | 1 | item
| Supply & installation of BMS Panel along with necessary wiring and Third Party Certificate (Honeywell) | 1 | item
| Supply & installation of Thermostat with necessary wiring | 1 | item
| Supply & installation of Supply Air Duct (preinsulated Brand Easy) with necessary supports and accessories | 1 | item
| Supply & installation of Rectangular VCD as per the design drawing received | 1 | item
| Supply & installation of flexible ducys including Round Damper, GI neck and jubilee clamp complete as per drawing | 1 | item
| Supply & installation of Powder coated Supply & Return diffusers as per drawing | 1 | item
| Provision for fresh air ducting | 1 | item
H | Fire Alarm & Fire Fighting Works
| Supply,install & commission FACP Panel | 1 | item |  | 0
Smoke detector with base
Break glass c/w back box
Monitor Module
Remote indicator
Interfacing Charges with Mall main system.
Testing & Programming.
| Supply & installation of sprinkler system with necessary GI pipe fitting as per proposed layout. | 1 | item |  | 0
| Pressure Testing & Commissioning. | 1 | item |  | 0
| Supply & installation of Extinguishers ( Co2 & Dry Powder) | 2 | set |  | 0
I | Misc Works
| Shifting of Existing ONTC - TVR | 1 | item |  | 0
| Shell & Demiltion of existing Store | 1 | item |  | 0
| Working platform for FCU | 3 | Nos |  | 0
| Platforms for Isolator , Sprinkler Valve,Void detectors | 4 | Nos |  | 0
| Professional cleaning @ Hand Over for merchandise | 1 | item |  | 0
Total Value in UAE Dhirams
Note: The tender is prepared as per received BOQ. Any variations in Qty shall be claimed separately.
Exclusion :
Supply of Flooring , Light Fixtures , Furnitures
Back store furniture & racking
Supply and install CCTV, Music system, sensometer & security antenna
Hoarding & demolition works
SUMMARY
A | Preliminaries |  |  |  | 0
B | Civil Works( Flooring) |  |  |  | 0
C | Ceiling Works |  |  |  | 0
D | Walls & Partition Works |  |  |  | 0
E | Façade & Signage |  |  |  | 0
F | Electrical Works |  |  |  | 0
G | HVAC Works |  |  |  | 0
H | Fire Alarm & Fire Fighting Works |  |  |  | 0
I | Misc Works |  |  |  | 0
| Final Total for Fit Out Works |  |  |  | 0
0

## Joinery
Sr.No | Description | Qty | Unit | Rate |  | Amount in AED
1 | 2 Bay Wall Cabinet with White Wood Bulkhead / Dividers ( Small ) 2500 x 2500 mm | 1 | Nos |  |  | 0
| 20mm Solid wood panel with required back fixing accessories in Benjamin moore white finish 550 mm x 2500 mm | 4 | Nos |  | 0
| Filler Wall Panels | 2 | Nos |  | 0
| Black Zippers | 5 | Nos |  | 0
| Bottom Plinth in white Wood | 1 | item |  | 0
| Top Bulkhead in Pine Finish with Provision for LED . Bulkhead to have moulding in the elevation | 1 | item |  | 0
| White wood side dividers | 2 | Nos |  | 0
| Shelves made of solid wood 550 mm long | 16 | Nos |  | 0
| Shelves Bracket | 32 | Nos |  | 0
| Metal U Brackets | 2 | Nos |  | 0
| Metal U Brackets with 02 Face Outs | 2 | Nos |  | 0
2 | 3 Bay Wall Cabinet with White Wood Bulkhead / Dividers ( Small ) 2900 x 2500 mm | 1 | Nos |  |  | 0
| 20mm Solid wood panel with required back fixing accessories in Benjamin moore white finish 550 mm x 2500 mm | 5 | Nos |  | 0
| Filler Wall Panels | 2 | Nos |  | 0
| Black Zippers | 6 | Nos |  | 0
| Bottom Plinth in white Wood | 1 | item |  | 0
| Top Bulkhead in Pine Finish with Provision for LED . Bulkhead to have moulding in the elevation | 1 | item |  | 0
| White wood side dividers | 2 | Nos |  | 0
| Shelves made of solid wood (Big ) | 4 | Nos |  | 0
| Shelves made of solid wood 550 mm long | 4 | Nos |  | 0
| Shelves Bracket | 20 | Nos |  | 0
| Metal U Brackets | 5 | Nos |  | 0
| Metal U Brackets with 02 Face Outs | 2 | Nos |  | 0
3 | 3 Bay Wall Cabinet in White Solid Wood Finish 3750 mm x 2500 mm | 4 | Nos |  |  | 0
| 20mm Solid wood panel with required back fixing accessories in Benjamin moore white finish 550 mm x 2500 mm | 6 | Nos |  | 0
| Filler Wall Panels | 2 | Nos |  | 0
| Black Zippers | 7 | Nos |  | 0
| Bottom Plinth in Solid Wood | 1 | item |  | 0
| Top Bulkhead in White Finish with Provision for LED . Bulkhead to have moulding in the elevation | 1 | item |  | 0
| Solid wood side dividers | 2 | Nos |  | 0
| Shelves made of solid wood (Big ) | 9 | Nos |  | 0
| Shelves Bracket | 24 | Nos |  | 0
| Metal U Brackets | 2 | Nos |  | 0
| Metal U Brackets with 02 Face Outs | 3 | Nos |  | 0
4 | 5 Bay Wall Cabinet with White Wood Bulkhead / Dividers 5600 mm x 2500 mm | 1 | Nos |  |  | 0
| 20mm Solid wood panel with required back fixing accessories in Benjamin moore white finish 550 mm x 2500 mm | 10 | Nos |  | 0
| Filler Wall Panels | 2 | Nos |  | 0
| Black Zippers | 11 | Nos |  | 0
| Bottom Plinth in white Wood | 1 | item |  | 0
| Top Bulkhead in Pine Finish with Provision for LED . Bulkhead to have moulding in the elevation | 1 | item |  | 0
| White wood side dividers | 2 | Nos |  | 0
| Shelves made of solid wood 1200 mm long | 16 | Nos |  | 0
| Shelves Bracket | 48 | Nos |  | 0
| Metal U Brackets | 3 | Nos |  | 0
| Metal U Brackets with 02 Face Outs | 5 | Nos |  | 0
5 | SHOE / BAGS Wall Cabinet with Pine wood Bulkhead & Base Drawer with fixed Shelves 1630 mm x 3600 mm | 1 | Nos |  |  | 0
| 20mm Solid wood panel with required back fixing accessories in Benjamin moore white finish | 1 | item |  | 0
| Drawer Unit in Pine wood finish | 3 | Nos |  | 0
| Top Bulkhead in Pine Wood with Provision for LED . Bulkhead to have moulding in the elevation | 1 | item |  | 0
| Solid wood side dividers | 3 | Nos |  | 0
| Shelves made of solid wood with concealed LED | 7 | Nos |  | 0
6 | T-Shirt Display Wall Unit . Size : 3300 x 4100 x 510 mm | 2 | item |  |  | 0
| 20mm Solid wood Top Bulkhead with cornish moulding 560 x 3300 x 551 mm | 1 | item |  | 0
| Supply & Installation of Back wall with USPA wall Paper Size : 2050 x 2700 mm | 2 | Nos |  | 0
| Solid wood side dividers 50 mm . 2750 x 550 mm | 3 | Nos |  | 0
| Solid wood side dividers 50 mm . 1350 x 550 mm | 6 | Nos |  | 0
| Solid wood side dividers 30 mm . 1370 x 550 mm | 6 | Nos |  | 0
| Solid wood side dividers 30 mm . 1130 x 550 mm | 6 | Nos |  | 0
| Metal U Brackets | 2 | Nos |  | 0
7 | Shoe Display Wall | 1 | Nos |  |  | 0
| Pine Wood Frame all around | 1 | item |  | 0
| Back Panel with groove for Zipper | 1 | item |  | 0
| Zippers | 3 | Nos |  | 0
| Shoe Shelf in metal | 24 | Nos |  | 0
8 | Cash Counter : 2000 mm x 900 mm x 1100 mm | 1 | item |  |  | 0
Made in Russian Pine . Provision of Moulding in solid wood @ front elevation
Drawer and closet as per design similar to Dubai Mall
9 | Cash Back Unit with all accessories etc as per drawings excluding TV & merchendizing items in pine wood finish . Provision for storage unit below TV flushed with the wall | 1 | item |  |  | 0
10 | Manufacture, Supply and install Gondola in metal with base in wood
| Belt / Accessories Gandola | 2 | Nos |  |  | 0
| WA2-R | 10 | Nos |  |  | 0
| WAO- 60 | 1 | Nos |  |  | 0
| Glass Display Unit (Drawing not Available) | 1 | item |  |  | 0
11 | Manufacture, Supply Billet Display Table 1500 x 700 mm - WM4 | 4 | Nos |  |  | 0
| Wooden Table in solid wood | 1 | Nos |  | 0
| Base White Unit , with drawers | 2 | Nos |  | 0
12 | Kids Display Table 1100 x 700 mm - WAO | 2 | Nos |  |  | 0
| Wooden Table with Blue White Red Strips Vinyl | 1 | Nos |  | 0
| Base White Unit , with drawers | 2 | Nos |  | 0
13 | Manufacture, Supply and install Mirror with Frame in Russian Pine Wood | 1 | Nos |  |  | 0
14 | 40 x 40 Leather Puff | 4 | Nos |  |  | 0
15 | Fitting Room Area
| Supply of wall mounted mirror with wood frame | 2 | Nos |  |  | 0
| Supply Fitting Room Door ( Polo Stick to be Supplied by Client ) | 2 | Nos |  |  | 0
| Fitting Room Hooks | 2 | Set |  |  | 0
| Fitting Room Handle , Lock | 3 | Nos |  |  | 0
| 6 mm clear Mirror inside fitting rrom | 2 | Nos |  |  | 0
| 40 x 40 Leather Puff | 2 | Nos |  |  | 0
| Skirting @ Fitting Room | 15 | rmt |  |  | 0
| Fitting Room Handicap Rail | 1 | Nos |  |  | 0
| Installation of Fitting Room Sign :1" , "2" Hanging illuminated | 2 | Nos |  |  | 0
| Uphoslery Seater - Braun Quitted Leather @ Fitting Room Lobby 1540 mm x 600 mm x 450 mm | 1 | item |  |  | Rate Only
| Oak Wood Frame 1500 mm x 850 mm @ Fitting Room Lobby | 1 | item |  |  | 0
| Oak Wood Panelling @ Fitting Room (inside & Lobby ) - Benjamin Moore OC-149 1100 mm , high | 2 | items |  |  | 0
| Wall Paper @ Fitting Room Lobby Above 1100 mm | 1 | item |  |  | 0
| Fitting Room Shelf | 2 | Nos |  |  | 0
16 | Wall Cladding in various places | 1 | item |  |  | 0
17 | Chandelier made of pine wood frame , grasss , Bulb Holders with complete wiring and suitable fixing accessories . (Polo Stick to be supplied by Client ) | 1 | set |  |  | Rate Only
18 | Misc items
| Wallet Tray | 1 | Nos |  |  | 0
| Graphic Frame A4 | 15 | Nos |  |  | 0
| Graphic Frame A3 | 10 | Nos |  |  | 0
| Curtain | 2 | set |  |  | 0
| Sub-Total( JOINERY) |  |  |  |  | 0