## Element Upload Sheet
Mandatory Fields |  |  |  |  | Optional Fields
Name | Description | Section | Category | UOM | Brand/Make | Item Type | Quantity | Client Rate | Budget Rate | HSN | Tax %
Site Mobilization & Temporary Works | Site Mobilization , Temporary Power , Protection of Mall Corridor for material movement | Fitout - Preliminaries | Miscellaneous (MI) | item |  |  | 1
Insurance Allowances | Allowance for insurances required for the execution of work - contractor's all risk, Employers liability and third party insurance all in accordance with the landlord mall requirements. | Fitout - Preliminaries | Miscellaneous (MI) | item |  |  | 1
Technical Drawing & Shop Drawings | Technical Drawing Including all required drawing works for Mall & Statutory approvals, Shop Drawings for execution at site & production. | Fitout - Preliminaries | Design Service (DS) | item |  |  | 1
Tarkheez Approval | Tarkheez Approval - Drawing preparation , Submission , Initial Inspection, COC Approval , Final Completion Certificate | Fitout - Preliminaries | Design Service (DS) | item |  |  | 1
DEWA Approvals | DEWA Dwg Submission & Approval , DEWA Inspection & Meter Energization | Fitout - Preliminaries | Electrical (EL) | item |  |  | 1
DCD Approvals | DCD Dwg Submission & Approval . Final DCD inspection & certificate ( AMC to be provided by client) | Fitout - Preliminaries | Fire Fighting (FF) | item |  |  | 1
Hoarding Relocation | Relocation of installed Hoarding for shop front works | Fitout - Preliminaries | Dismantling (DG) | SQM |  |  | 70
Hoarding Removal | Removal of Hoarding & Cart away during store opening | Fitout - Preliminaries | Dismantling (DG) | item |  |  | 1
Cement Mortar Screed | Cement mortor screed to the floor upto 12cm to achieve uniform level , including labour charges for material shifting. | Fitout - Civil Works | Civil (CL) | SQM |  |  | 142
Ceramic Light Flooring | Installation of client supplied NG Kutahya Ceramic Light coloured USPA Flooring - FL-01 180 x 1180 mm | Fitout - Civil Works | Flooring (FL) | SQM |  |  | 142
Ceramic Elis Bone Flooring | Installation of client supplied NG Kutahya Ceramic Elis Bone Flooring - FL-02, 400 x 400 mm | Fitout - Civil Works | Flooring (FL) | SQM |  |  | 142
Floor Protection | Supply & installation of floor protection with 6mm ply, polythene & masking tape | Fitout - Civil Works | Accessories (AA) | SQM |  |  | 142
SS Transition Strip | Supply & install 5mm SS transition strip between floor. | Fitout - Civil Works | Flooring (FL) | RMT |  |  | 7
MDF Laminate Skirting | Supply & installation of white MDFlam skirting board 10 cm height as per the drawings. | Fitout - Civil Works | Carpentry (CR) | RMT |  |  | 12
Russian Skirting Board | Supply & installation of Russian skirting board 10 Cm height as per the drawings. | Fitout - Civil Works | Carpentry (CR) | RMT |  |  | 2
Ceramic Skirting | Supply & installation of Ceramic skirting 7 Cm height as per the darwings. | Fitout - Civil Works | Flooring (FL) | RMT |  |  | 17

## Dropdown Options
AC | Accessories (AA) | Labour | 0
Bags | Acoustic (AT) | Raw Material | 5
Boards | Backfilling (BF) | Transportation | 6
Boxes | BMS (BM) | Consulting | 9
Brass | Branding (BR) | Bought Out | 12
Bundles | Carpentry (CR) | Production | 18
Coil | CCTV & IT (IT) | Site Work | 28
CuFt | Civil (CL)
Cum | Cladding (CD)
DC | Demolition (DM)
Days | Design Service (DS)
Dozen | Dismantling (DG)
Each | Doors (DR)
Feet | Electrical (EL)
Ha | Excavation (EX)
Hours | External Development (ED)
Inch | External Purchases (EP)
Job | False Ceiling (FC)
KW | Fire Alarm System (FA)
Kg | Fire Fighting (FF)
Km | Flooring (FL)
L | Furniture (FR)
Length | Glass Works (GL)
Linear Meter | Housekeeping (HK)
Lot | HVAC (AC)
Lumpsum | Interior (IR)
MW | Landscaping (LD)
Metric Ton | Lighting Fixtures (LF)
Months | Loose Furniture (LR)
Nos. | Masonry (MS)
Packets | MEP (ME)
Pairs | Metal Fabrication (MF)
Pieces | Miscellaneous (MI)
Pound | Networking (NW)
Quintal | Non-Tender (NT)
RFT | Painting (PT)
RMT | Panelling Work (PW)
Rolls | Partition (PN)
SQFT | PA System (SY)
SQM | Pest Control (PO)
Sample | Plumbing (PL)
Service | PoP (PP)
Set | Recce Service (RS)
Sheets | Signage (SG)
SqInch | Tile (TE)
Ton | Wall Finish (WF)
Units | Wood Work (WW)
Watts/M.Sq-K
Watts/meter-K
gm
hp
item
mL
meter
mm
trip